5 Home Maintenance Tips for Healthier Indoor Air

Have you noticed an increase in your family’s health issues? Maybe you can smell an odor that wasn’t there before? If so, you probably have a problem with your home’s indoor air quality. Indoor pollutants such as radon gas, biological contaminants, high humidity, dander, and harmful gases pose great danger to your family. High levels of indoor pollutants cause health complications, ranging from fatigue, eye/skin irritation, allergic reactions, headaches, and dizziness to more serious illnesses.

Preventive measures can protect your family’s health and improve comfort levels in your home. Read on for some simple ideas to improve your home’s indoor air.

- Change HVAC Air Filters Regularly

A heating, ventilation, and air conditioning (HVAC) system helps maintain a healthy and comfortable home. Air filters in the intake vents trap pollutants in air flow. Such pollutants include dust particles, mold, and pet dander. With time, the filters collect a lot of dirt and require cleaning or replacement.

A regular change of air filters allows clean air through the vent system. You enjoy great indoor air quality when the air filters are in tiptop shape. A change of air filters once a year isn’t enough to keep your indoors healthy. Schedule more air filter changes to maintain safer indoor space.

- Install an Air Purifier

An air purifier is a smart idea if you want to improve indoor air quality. The appliance gets rid of pollutants, toxins and allergens to sanitize indoor air. Some models of purifiers use filters to trap particles, while others use more sophisticated technology to target and neutralize specific pollutants.

If you or a loved one suffers from allergies, an ionic purifier can help capture the irritants responsible for your respiratory symptoms. Air purifiers complement other air cleaning systems you might have in the house.

- Install a Kitchen Vent/Range Hood

The kitchen is a primary source of indoor pollutants. Fossil fuels which are the major source of energy release harmful gases, such as carbon monoxide into the indoor air. Electric stoves also generate such pollutants but in lower quantities.

One way to clean up indoor air is through the use of an exhaust vent or a range hood. Vents and range hoods help remove exhaust gases, chemicals, and smoke out of your kitchen. The systems prevent circulation of pollutants into other rooms.

- Clean the Air Ducts

Air ducts circulate air from your HVAC system throughout your home. If the air ducts are clean, you always get quality air into the rooms. Preventive maintenance of the air ducts removes allergens and irritants such as bacteria, pollen, pet dander, mildew, mold spores, and similar toxins that would otherwise circulate in your home. Such contaminants can also cause odors and unpleasant smells in your house. If you notice unusual odors in any room, it’s time to have the air ducts inspected and cleaned.

- Reduce Humidity in Indoor Spaces

High humidity levels in your home can affect the health of the occupants. The high levels of humidity promote growth of toxic mold and mildew, which can lead to respiratory health problems. To reduce high humidity levels, use an indoor air quality monitor and maintain humidity levels below 60%.

Some solutions to high indoor humidity include proper heating, ventilation, and minimizing activities that generate lots of moisture. Other solutions include installation of a dehumidifier and fixing potential leaks.

Is your indoor air moist and clammy? Or is there foul smell in the house? Such signs of poor indoor air quality require immediate attention. At Garden Spot Mechanical, we offer multiple HVAC solutions around Manheim, PA to improve indoor air quality. Contact us today for residential, commercial and industrial heating, ventilation, air purification, cooling, and air conditioning solutions.

Sources:

https://www.epa.gov/indoor-air-quality-iaq/introduction-indoor-air-quality

https://www.energystar.gov/campaign/seal_insulate/identify_problems_you_want_fix

https://www.atsdr.cdc.gov/csem/exposure-history/Indoor-Air-Pollution-Sources.html

https://www.nbcnews.com/health/health-news/it-s-not-just-heat-it-really-humidity-know-risks-n629486

https://www.lung.org/clean-air/at-home