5 Simple Ways to Make Your HVAC More Eco-Friendly

Heating and cooling systems account for much of the energy used in your home. Despite the high energy cost, heating and air conditioning systems are essential for a healthy and comfortable home. As a homeowner, an energy-efficient HVAC system can reduce the energy bill and also cut your home’s carbon footprint. To make your home greener, start with an eco-friendly HVAC system.

Read on to discover simple tips that can make your HVAC more eco-friendly.

- Using Programmable Thermostat

A thermostat is the control center of your home’s heating/cooling system. The component reads the indoor temperature to control when the system turns on and off. Your home stays cool or warm based on the thermostat settings. With a programmable thermostat, you can automate the functionality of the AC.

A programmable thermostat can automatically adjust temperatures during winter and summer. Once you program the settings in the control panel, the unit does the rest automatically. A programmable thermostat allows you to customize your AC operations, reduce energy wastage, and to cut on energy expenses.

- Inspecting the Air Ducts

HVAC’s air ducts can collect a lot of dirt and debris over a long time and such obstructions limit the system’s overall efficiency. In addition, surface leaks can cause system inefficiencies and add to the cost of energy.

With no free flow of air through the air ducts, the system works harder to maintain required comfort levels. The system uses up more electricity to cool your home. To solve the problem, get a professional HVAC inspection to detect any blockages or leaks in the ducts and vents.

After air duct cleanout and repairs, air flows seamlessly to every room in your home with no leaks. Your AC system doesn’t lose energy through the air ducts/vents, which makes it more eco-friendly.

- Cleaning Condenser Coils

Many homeowners overlook the outdoor unit of the AC system despite the crucial role the component plays. The condenser unit releases the heat from indoor air into the environment. The unit has coils containing refrigerant. A fan blows over the condenser coil to allow the heat transfer from the refrigerant to the surrounding air.

If the coil suffers damage or leaks, the entire air conditioning unit won’t work optimally. Professional condenser coil cleaning ensures the AC unit works efficiently and keeps your home cool. An optimally functioning outdoor unit is more energy-efficient and makes your home greener.

- Installing a Two-Stage/Variable Speed AC

If you want to install a new air conditioner or replace an older one, consider a 2-stage AC or a variable speed cooling system. A two-stage AC features a high and low speed. At high setting, the AC unit runs at full speed. If temperatures fall, the unit changes to low speed setting.

The system doesn’t turn on and off every time there’s a change in the weather. With fewer instances of turning on and off, a two-stage AC can lower your energy bills, improve humidity levels, and deliver more balanced indoor air.

A variable speed AC offers custom cooling based on particular indoor room temperatures. The AC can work at low capacity settings to provide gradual cooling in your living space. The systems are more eco-friendly compared to single-stage air conditioners.

- Enclosing Your Indoor Space

One of the most effective ways to make your home greener is through air sealing. The process entails preventing air from leaking in and out of your home. In an enclosed indoor space, you save energy required by the AC system. Some techniques for air sealing include weather-stripping and caulking to seal cracks or gaps on stationary or moving components in the house.

An energy efficient heating and cooling system reduces your home’s carbon footprint, the energy bill, and increases the life of your HVAC system. If you wish to make your HVAC more eco-friendly around Northern Utah areas, contact us today at Dick Kearsley Service Center. We’re the go-to HVAC professionals in the area with certified technicians always ready to help.

Sources:

https://www.energy.gov/energysaver/heating-and-cooling https://www.eia.gov/energyexplained/use-of-energy/homes.php

https://greenerideal.com/guides/home-improvement/hvac-considerations-for-an-eco-friendly-home/

https://www.energy.gov/energysaver/air-sealing-your-home