5 Tankless Water Heater Problems and Their Solutions

One of the biggest trends in home/office water heating is the tankless system. An on-demand water system is 24% to 34% more energy efficient than a conventional water heater. The water heating technology makes your home more energy-efficient, which reduces your energy bill. With a tankless water heater, you don’t have to worry about high maintenance costs. The innovative heating unit has fewer components and is less prone to breakdowns.

Like any electrical system, your advanced water heater can still experience a few issues. If you plan to install the system or you already have one, here are some problems you might expect.

- Faulty Energy Supply

Your on-demand water heater needs a reliable source of power to heat the element fast. When the energy supply is low, you might have problems turning on the heating unit. Causes of faulty energy supply can   include:

- Failed ignition system

- Tripped circuit breaker

- Short-circuited electric system

- Closed gas valve

- Interrupted gas/electricity supply

- Reduced gas pressure

- Buildup of Minerals

About 85% of the country has hard water, which poses a big challenge of mineral buildup in plumbing systems. Mineral scaling is one of the biggest hard water problem in water appliances, including tankless heaters. With continued buildup, your water heater can malfunction.

If you use hard water, the mineral buildup is more rapid. The mineral deposits can block the pipes delivering water to the heat exchanger. Extreme scaling in the system can discolor the water, cause an awful odor, or damage the heat exchanger. To solve the problem, schedule regular professional flushing of the tankless water heater.

- Blocked Air Supply

If your tankless heater uses gas fuel, the system needs reliable air supply and an exhaust system. A power-vent system relies on indoor air for combustion and to vent the exhaust into the environment. A direct-vent has two vents for air intake and exhaust. If any of these vents clog, you might experience multiple problems. Some causes of vent blockage include bird nests, dirt, debris, rodents, and wasp nests.

A blocked air supply vent can lead to problems with combustion in the heater. If an exhaust vent blocks, you have even more serious problems. The burned fossil fuel generates harmful gases such as carbon monoxide. The vent system works to draw these gases from your indoor space to prevent health issues. A HVAC specialist can troubleshoot and identify the cause of blockage before repairs.

- Overloaded System

On-demand water heaters have a specific capacity. The units come in different ratings to help property owners find the best fit for their water heating needs. Gas-powered tankless heaters have higher capacity per minute compared to electrical units.

However, even a high-capacity gas heating system can strain in case of simultaneous hot water applications. If you have hot water faucets, multiple showers, hand washing sinks, and bathtubs, the applications can overload the tankless heater.

When an overload occurs, you won’t have enough water, and the system overworks to meet the excessive demand. To get the best out of your on-demand water heating unit, avoid multiple hot water applications. Proper use of the system ensures you always have water on demand.

- Unexpected Cold Water

The cold water sandwich effect isn’t a system failure but a result of the tankless water mechanics. The effect occurs when you jump into the shower immediately after another user. First, you receive warm water before a blast of cold water shoots from the shower. The cold water you receive had remained between the heating unit and the shower.

Understanding these tankless water problems helps you to care for the system proactively. If you notice a problem, you know when to seek professional help. At Streamline Plumbing, AZ, we offer exceptional water heater solutions around the east valley of Arizona. Get in touch with us today if you have plumbing concerns in the area.

Sources:

https://www.energy.gov/energysaver/tankless-or-demand-type-water-heaters

https://homewater101.com/articles/hard-water-across-us#:~:text=Share-,A%20Look%20at%20Hard%20Water%20Across%20the%20US,with%20hard%20water%20is%20high.

https://www.thisoldhouse.com/plumbing/21019184/read-this-before-you-buy-a-tankless-water-heater

https://www.greenlivingtips.com/articles/tankless-water-heaters.html